Sheet Metal Worker

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2211.00

RAPIDS CODE

0510

| Work Process Schedule |  |  |
| --- | --- | --- |
| Warm Air Heating Calculating heat loss and sizing furnaces Location of supply and return registers Sizing supply and return ducts Installation and adjustment of controls Checking and adjustment of air distribution Sizing, installing and adjustment of auxiliary equipment Measuring and adjustment of combustion efficiency |  |  |
| Special Installation and Specialty Work Design and fabrication of hoods Layout/fabrication of sinks and drain tables Layout/fabrication for belt and chain safety guards Fabrication of materials handling equipment Fabrication of industrial vats, tanks and pots Fabrication and installation of flashings and expansion joints for built-up, asbestos and shingle roofs Layout and fabrication of ventilators and louvers Fabrication and installation of metal cabinets and shelves |  |  |
| Roofing, Spouting and Guttering Standing seam roofs Flat seam roofs Batten roofs Corrugated roofs Erection of rectangular, round and round-corrugated spouting Erection of half-round, secret and O.G. gutters Fabrication and erection of special gutters and spouting |  |  |
| General Sheet-Metal Work Nomenclature and properties of metals used Soldering Welding Brazing Riveting Single and double seaming Use of rule and square Basic principles of metal layout |  |  |
| Operation of Hand Tools and Power Machines Proper use of snips, pliers, hand tongs, hammers and punchers Operation of: bending brake; squaring shears; rotary tools, i.e., bender, crimper and edger; roller; bar folder; roll forming machines; drills and drill press; press brake |  |  |
| Ventilation and Air Conditioning Rectangular duct layout Fabrication of duct locks of all types Fabrication of flexible connections Principles of duct sizing Layout and fabrication of turning vanes and dampers Erection methods for rectangular duct Insulation of cooling duct Erection methods for supply and exhaust fans Erection of all types of filters Layout and fabrication of access doors, multi-blade dampers, weather hoods, etc. |  |  |
| Exhaust and Blow Pipe Work Round pipe layout Layout and fabrication of elbows, "Y's", "T's", and angles Fabrication of dust collectors Erection of round pipe conveying systems Erector of fans for blow pipe systems |  |  |
| Cornices and Skylights Fabrication and erection of cornices Layout and fabrication of single and double pitch skylights Layout and fabrication of hipped skylights |  |  |
| Forced Air Furnace Work and Servicing Layout, fabrication and installation of forced air heating systems Erection of forced air furnaces Servicing forced air furnaces (coal, gas, and oil) |  |  |
| Totals |  | OJT HRS 0 |

Sheet Metal Worker

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2211.00

RAPIDS CODE

0510

| Related Instruction Online | RSI HRS |
| --- | --- |
| Practical Arithmetic First Year | 48 |
| Formulas First Year | 34 |
| Going Metric First Year | 18 |
| Practical Geometry and Trigonometry First Year | 34 |
| Industrial Accident Prevention First Year | 10 |
| Sheet Metal Hand Processes Second Year | 20 |
| Sheet Metal Machine Processes Second Year | 20 |
| Layout Second Year | 48 |
| Bench Work Second Year | 20 |
| Sheet Metal Work Second Year | 18 |
| Geometrical Drawing Second Year | 18 |
| Elements of Projection Drawing Third Year | 20 |
| Practical Projection Third Year | 30 |
| Development of Surfaces Third Year | 48 |
| Sheet Metal Drafting Third Year | 20 |
| Measuring Instruments Third Year | 18 |
| Safety Precautions Third Year | 8 |
| Fundamentals of Welding Fourth Year | 30 |
| Gas Welding Equipment Fourth Year | 18 |
| Safety in Welding Fourth Year | 18 |
| Gas Cutting Fourth Year | 20 |
| Layout Fourth Year | 20 |
| Duct and Piping Design for Air Conditioning Fourth Year | 18 |
| Sheet Metal Drafting Fourth Year | 10 |
| Practical Projection Fourth Year | 10 |
| Totals | RSI HRS 580 |