Central Sterile Processing Technician

APPRENTICESHIP APPROACH

Competency

O*NET-SOC CODE

31-9093.00

RAPIDS CODE

1133

| Work Process Schedule | SKILLS |  |
| --- | --- | --- |
| Cleaning, decontamination and disinfection of surgical equipment and instruments Maintain the work environment in a safe, clean and orderly fashion Prepare working area for decontamination Prepare quality tests to ensure proper equipment operation; repair, service or obtain professional vendor services as needed Separate disposable from non-disposable items and dispose of expendable supplies properly Prepare items for decontamination and conduct decontamination procedures | 5 |  |
| Preparation, packaging and sterilization of surgical equipment Inspect items for cleanliness, functionality and integrity Assemble items for packaging and sterilization Transfer and sterilize items safely and accurately Maintain personal health and safety as well as team/environment health and safety | 4 |  |
| Sterilize instruments and equipment properly, fully and in accordance with standard operating procedures and/or manufacturer recommendations (IFUs) Prepare work area and test sterilizer function Select appropriate sterilizer equipment, packaging and methods based on equipment, instruments and standard operating procedures Load sterilizer properly, use correct cycle settings Ensure integrity and effectiveness of sterilization process Store sterilized instruments and equipment properly | 5 |  |
| Manage inventory and restocking according to established protocols; participate in team and department functions Maintain safe, clean and orderly storage environment Stock, rotate, inspect, confirm, distribute and monitor usage of items Demonstrate strong customer relations skills Participate in department organization and functions | 4 |  |
| Maintain, clean, procure and distribute patient care equipment Ordering, processing and receiving rental equipment Assemble equipment for distribution Deliver equipment as per company policies and protocols Maintain and inspect equipment, send for repair as necessary | 4 |  |
| Totals | SKILLS 22 | OJT HRS 0 |