Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Interior and exterior underground sanitary and storm sewer or private sewage system work |  | 1.2K |
| Vertical stacks, horizontal lines, and branch lines for soil, waste, and venting piping |  | 2.1K |
| Water supply system – Sizing of lines, selecting of material to use, and job, cross-laying out connection control and water treatment equipment |  | 1.7K |
| Setting and connecting of all types of plumbing fixtures and appliances and water treatment equipment |  | 1.5K |
| Care and safe use of tools, materials and equipment used on the job. Job lay out and site safety requirements. Driving and operating of equipment used in the job. |  | 500 |
| Industrial, process piping, gas piping, compressed air piping, and chemical piping, welding and rigging of equipment. |  | 500 |
| Installation and maintenance of high/low pressure boilers, and chilled water cooling systems |  | 500 |
| Totals |  | OJT HRS 8K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Basic Safety | 15 |
| Introduction to Construction Math | 15 |
| Introduction to Hand Tools | 10 |
| Introduction to Power Tools | 5 |
| Introduction to Blueprints | 7 |
| Basic Rigging | 20 |
| Introduction to the Plumbing Trade | 5 |
| Plumbing Tools | 7 |
| Introduction to Plumbing Math | 7 |
| Introduction to Plumbing Drawings | 12 |
| Plastic Pipe and Fittings | 10 |
| Copper Pipe and Fittings | 10 |
| Cast Iron Pipe and Fittings | 10 |
| Carbon Steel Pipe and Fittings | 10 |
| Fixtures and Faucets | 10 |
| Introduction to Drain, Waste, and Vent (DWV) Systems | 10 |
| Introduction to Water Distribution Systems | 10 |
| Intermediate Math | 15 |
| Reading Commercial Drawings | 20 |
| Installing and Testing DWV Piping | 30 |
| Installing Roof, Floor, and Area Drains | 5 |
| Types of Valves | 5 |
| Installing and Testing Water Supply Piping | 25 |
| Installing Fixtures, Valves, and Faucets | 15 |
| Installing Water Heaters | 5 |
| Fuel Gas Systems | 20 |
| Servicing Fixtures, Valves, and Faucets | 5 |
| Applied Math | 17 |
| Codes | 7 |
| Types of Venting | 15 |
| Indirect and Special Waste | 15 |
| Sewage and Sump Pumps | 17 |
| Sizing Water Supply Piping | 20 |
| Backflow Preventers | 20 |
| Water Pressure Boosters and Recirculating Systems | 20 |
| Servicing Piping Systems, Fixtures, and Appliances | 20 |
| Business Math for Plumbers | 10 |
| Sizing DWV and Storm Systems | 15 |
| Private Water Supply Systems | 12 |
| Private Waste Disposal Systems | 12 |
| Locating Buried Water and Sewer Lines | 12 |
| Hydronic and Solar Heating Systems | 15 |
| Water Supply Treatment | 25 |
| Swimming Pools and Hot Tubs | 15 |
| Compressed Air | 10 |
| Corrosive-Resistant Waste Piping | 12 |
| Plumbing for Mobile Homes & Mobile Home Parks | 10 |
| Totals | RSI HRS 620 |