Chemical Maint. Waste Water Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

51-8031.00

RAPIDS CODE

0060

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Time-Based |  | 0 |
| Safety Procedures |  | 300 |
| Tools, Shop Equipment-Pipe Fabrication |  | 1K |
| Installation and Maintenance of Piping Systems |  | 1K |
| Chemicals, Handling and feeder systems and waste segregation |  | 1K |
| PH, Clarifiers, oil-water separators, thickeners, coagulants |  | 500 |
| Pumping Systems: Identification and Troubleshooting, Maintenance, lubrication, alignment, couplings and vibration analysis |  | 200 |
| Checks tanks, levels, and gauges |  | 100 |
| Filters and Filter Presses: Works with disposal, backwash systems, micro trainers, and vacuum filters |  | 500 |
| Chemical Formulas and naming conventions, Follows MSDS procedures in handling and storing hazardous chemicals |  | 1K |
| Practices Decontamination Practices on pumps, tanks, drums, and during material handling |  | 900 |
| Performs wastewater testing and inspection procedures |  | 1K |
| Documents Environmental regulation reports with governmental agencies |  | 500 |
| Totals |  | OJT HRS 8K |

Chemical Maint. Waste Water Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

51-8031.00

RAPIDS CODE

0060

| Related Instruction Online | RSI HRS |
| --- | --- |
| Industrial Safety | 32 |
| Math Measurement & Literacy Mathematical Measurement | 48 |
| Principles of Biology General Biology I | 64 |
| General Biology II | 64 |
| Basic Lab Techniques | 64 |
| Introduction to Chemistry | 48 |
| Introduction to Chemistry Lab | 16 |
| Writing and Inquiry Expository Writing | 48 |
| Level I Waste Water Certification | 200 |
| Totals | RSI HRS 580 |