Limited Journeyman Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

2038

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuits |  | 1.5K |
| Motors and generators Dismantling and checking physical conditions Assembly and testing Repair and maintenance Internal and external connections to change direction of rotation and speed and for change of supply of voltage Motor setting, drives, pulley, gears, coupling devices Related mechanical equipment: Traction units, cranes, winches and hoists, in place motor cleaning |  | 1.1K |
| Manual and automatic controls |  | 1.7K |
| Troubleshooting Circuit analysis Use of test equipment Emergency repairs for temporary maintenance of service |  | 1.5K |
| Power Distribution Inside and outside, high and low voltage, distribution systems, maintenance and replacement Transformer connecting, testing and repairing Switch gear and load centers, repair and maintenance Wiring, maintenance, repair and adjustments of control panels, instruments, and relays |  | 1.2K |
| Welders and Welding Soldering, brazing, acetylene welding Electric welding Maintenance and repair of welding equipment |  | 100 |
| Rectifiers Installing, replacing and testing rectifier units Repairing related equipment |  | 100 |
| Meters Testing meters Rebuilding meters Minor repairs, installation, and calibration of meters |  | 100 |
| Batteries Handling, testing, and storing Minor repairs, maintaining terminals and case electrolyte Rebuilding batteries |  | 100 |
| Signal systems Installation, testing, service and overhaul |  | 100 |
| Lighting Maintenance of general indoor and outdoor lighting Maintenance of special lighting Set-up, operation, maintenance, dismantling and storing of temporary and emergency lighting and portable power generators |  | 300 |
| Electric Furnaces |  | 200 |
| Totals |  | OJT HRS 8K |

Limited Journeyman Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

2038

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety and accident prevention | 36 |
| Care and use of hand and power tools | 20 |
| Blueprint reading and electrical symbols | 40 |
| Introduction to National Electrical Code | 140 |
| Electrical fundamentals and basic theory, including A/C and D/C | 52 |
| Electric measuring devices | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators and transformers | 44 |
| Practical circuit sketching | 20 |
| Lighting circuits | 20 |
| Fundamentals of electronics | 30 |
| Welding and cutting | 36 |
| High voltage distribution and equipment | 20 |
| A certified CPR (cardiopulmonary resuscitation) course | 8 |
| Totals | RSI HRS 580 |