PLANT MAINTENANCE – PIPEFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

ATP63-373

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Selecting Materials and Equipment Reading blueprints and specifications. Understanding written and spoken work orders. Recognizing and selecting appropriate types and sizes of pipe and fittings. Recognizing and selecting appropriate related materials and equipment, such as: valves, supports, fasteners. |  | 200 |
| Layout Inspecting work site to determine presence of obstructions, and to ascertain that holes cut for pipe will not cause structural weakness. Planning installation or repair to avoid obstructions and to avoid interfering with activities of other workers. Planning and marking layout, using computer software if available. Minimizing waste of materials. Coordinating with other trades. |  | 500 |
| Basic Pipefitting Measuring and marking metallic and non-metallic pipe. Cutting metallic and non-metallic pipe, using hand and power tools. Threading pipe, using pipe threading machine. Bending metallic and non-metallic pipe, using hand and power tools. Joining metallic and non-metallic pipe, using hand and power tools for threading, soldering, brazing, fusing, welding or other approved processes. |  | 900 |
| Installation of Piping Systems Cutting openings as required, using hand and power tools. Hanging and supporting pipe and related materials. Installing related equipment and making piping connections. Increasing pressure in pipe system. Testing of all components of installed systems, using pneumatic or hydrostatic testing procedures. |  | 400 |
| Service Installation – Drainage and Ventilation Connecting to main. Laying to underground sewer. Roughing-in drain and ground lines. Roughing-in soil stack. Installing vent system. |  | 500 |
| Fixture Installation (optional*) Sink. Toilet. Urinal. Shower. Drinking fountain. |  | 500 |
| Piping for Steam Installing low-pressure systems. Installing high-pressure systems. Installing/connecting steam traps and other related equipment. Insulating steam lines. |  | 1.5K |
| Sprinkler System Installation (optional*) Overhead piping. Underground piping. |  | 1K |
| Piping for High-Pressure Gas and Steam Lines Installing high-pressure gas and steam lines. Installing high-pressure hydraulic line. Assembling and installing refrigeration systems. Assembling and installing air-conditioning systems. |  | 1.5K |
| Maintenance and Repair Using proper start-up and shut-down procedures. Maintaining, repairing, and modifying installed piping systems and components. Repairing and calibrating mechanical meters. |  | 1K |
| Totals |  | OJT HRS 8K |

PLANT MAINTENANCE – PIPEFITTER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

ATP63-373

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Health |  |
| Blueprints and Plans |  |
| Mathematics |  |
| Trade Theory and Science |  |
| Other Workplace Skills |  |
| Other Related Courses as Necessary | 140 |
| Totals | RSI HRS 140 |