JOURNEYMAN ELECTRICIAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| PRELIMINARY WORK Learning the names and uses of the equipment used in the trade: kind, size, and use of cable, wire, boxes, conduits, and fittings, switches receptacles, service switches, cutouts, etc. |  | 600 |
| ROUGH-IN WIRING Assisting in getting material from stock room. Loading truck and equipment on-the-job. |  | 4K |
| FINISH WORK Connecting and setting switches, receptacles, plates, etc. |  | 2K |
| TROUBLE SHOOTING AND SERVICE WORK Repairing all kinds of electrical work. |  | 1K |
| MOTOR INSTALLATION AND CONTROL Installing over-current devices. |  | 400 |
| Totals |  | OJT HRS 8K |

JOURNEYMAN ELECTRICIAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159

| Related Instruction Online | RSI HRS |
| --- | --- |
| Orientation | 3 |
| Basic Electrical Mathematics | 9 |
| Safety and First Aid | 9 |
| Care and Use of Hand Tools | 6 |
| Care and use of Power Operated Tools | 12 |
| Blueprint Reading and Electrical Symbols | 18 |
| Introduction to National Electrical Code | 26 |
| Electrical Fundamentals and Basic Theory | 36 |
| Principles of Alternating Current | 24 |
| Alternating Current Circuits | 21 |
| Principles and Circuitry of Direct Current | 27 |
| Portable Electric Measuring Devices | 15 |
| Wiring Methods | 91 |
| Low Voltage Circuits | 14 |
| Appliances | 15 |
| Interior Distribution | 18 |
| Industrial and Commercial Calculations | 21 |
| Motors and Generator | 50 |
| Practical Circuit Sketching | 36 |
| Transformers | 35 |
| Illumination and Design | 15 |
| Sub-Stations | 21 |
| Primary Distribution | 20 |
| Fundamentals of Electronics | 19 |
| Medium Voltage Circuitry | 15 |
| Totals | RSI HRS 580 |