Pipe Fitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders |  | 1.2K |
| Plan pipe system layout, installation, or repair, according to specifications. Lay out full scale drawings of pipe systems, supports, or related equipment, according to blueprints |  | 1K |
| Assemble/secure pipes, tubes, fittings, or related equipment, according to specifications, by welding, brazing, cementing, soldering, or threading joints |  | 1.3K |
| Measure and mark pipes for cutting or threading |  | 500 |
| Inspect, examine, or test installed systems or pipelines, using pressure gauge, hydrostatic, testing, observation, or other methods |  | 750 |
| Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment |  | 750 |
| Modify, clean, or maintain pipe systems, units, fittings, or related machines or equipment, using hand or power tools. Remove and replace worn components |  | 750 |
| Select pipe sizes, types, or related materials, such as supports, hangers, or hydraulic cylinders, according to specifications |  | 750 |
| Cut or bore holes in structures, such as bulkheads, decks, walls, or mains, prior to pipe installation, using hand or power tools |  | 500 |
| Install automatic controls to regulate pipe systems |  | 250 |
| Shut off steam, water, or other gases or liquids from pipe sections, using valve keys or wrenches |  | 250 |
| Totals |  | OJT HRS 8K |

Pipe Fitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0414

| Related Instruction Online | RSI HRS |
| --- | --- |
| NCCER Core: Introduction to Basic Construction Skills | 75 |
| NCCER Pipefitter Level 1 | 160 |
| NCCER Pipefitter Level 2 | 160 |
| NCCER Pipefitter Level 3 | 150 |
| NCCER Pipefitter Level 4 | 180 |
| NCCER Pipefitter Additional | 22 |
| Totals | RSI HRS 740 |