Electronic Security Technician (2007 V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-2098.00

RAPIDS CODE

2007

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Install electrical components, equipment, or systems. Mount and fasten control panels, door and window contacts, sensors, or video cameras, and attach electrical and telephone wiring to connect components.; Install, maintain, or repair security systems, alarm devices, or related equipment, following blueprints of electrical layouts and building plans. |  | 300 |
| Explain use of products or services. Demonstrate systems for customers and explain details, such as the causes and consequences of false alarms. |  | 250 |
| Position equipment using hand tools, power tools, or heavy equipment. Mount and fasten control panels, door and window contacts, sensors, or video cameras, and attach electrical and telephone wiring to connect components. |  | 100 |
| Repair electrical components. Install, maintain, or repair security systems, alarm devices, or related equipment, following blueprints of electrical layouts and building plans. |  | 250 |
| Repair electrical circuits or wiring. Test and repair circuits and sensors, following wiring and system specifications. |  | 300 |
| Test electrical circuits or components for proper functioning. Test and repair circuits and sensors, following wiring and system specifications. |  | 250 |
| Inspect equipment to locate or identify electrical problems. Examine systems to locate problems, such as loose connections or broken insulation. |  | 100 |
| Lay cables to connect equipment. Feed cables through access holes, roof spaces, or cavity walls to reach fixture outlets, positioning and terminating cables, wires, or strapping. |  | 250 |
| Inspect safety equipment to ensure proper functioning. Test backup batteries, keypad programming, sirens, or other security features to ensure proper functioning or to diagnose malfunctions. |  | 150 |
| Drill holes in parts, equipment, or materials. Drill holes for wiring in wall studs, joists, ceilings, or floors. |  | 750 |
| Determine types of equipment, tools, or materials needed for jobs. Inspect installation sites and study work orders, building plans, and installation manuals to determine materials requirements and installation procedures. |  | 100 |
| Plan work procedures. Inspect installation sites and study work orders, building plans, and installation manuals to determine materials requirements and installation procedures. |  | 200 |
| Document operational activities. Prepare documents, such as invoices or warranties. |  | 100 |
| Confer with customers or users to assess problems. Consult with clients to assess risks and to determine security requirements. |  | 150 |
| Run wiring to connect equipment. Mount raceways and conduits and fasten wires to wood framing, using staplers. |  | 300 |
| Adjust equipment to ensure optimal performance. Adjust sensitivity of units, based on room structures and manufacturers' recommendations, using programming keypads. |  | 150 |
| Estimate costs for labor or materials. Provide customers with cost estimates for equipment installation. |  | 150 |
| Maintain knowledge of current developments in area of expertise. |  | 100 |
| Order materials, supplies, or equipment. Order replacement parts. |  | 50 |
| Totals |  | OJT HRS 4K |

Electronic Security Technician (2007 V1) Time-Based

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-2098.00

RAPIDS CODE

2007

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |