Plumber & Pipefitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

ATP13-363

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Rigging, Material Handling, Working at Heights Signaling, rigging, hoisting. Loading/unloading materials in safe manner. Using ladders, scaffolding safely. Using power lifts, personnel lifts safely. |  | 200 |
| Tools, Machines and Equipment Care and safe use of hand tools. Care and safe use of power tools. Care and safe use of cutting and burning equipment. Care and safe use of machines used in the trade. |  | 300 |
| Materials Identifying grade, type and appropriate use of various piping materials. |  | 200 |
| Basic Installation Accurately reading specifications, blueprints, work orders. Planning and layout; including avoiding obstructions, maximizing efficiency, avoiding interfering with activities of other workers. Cutting structural openings as required. Cutting and threading pipe. Pipe bending. Pipe joining. Caulking of joints. Assembling and installing pipe, fittings, valves, hydraulic and pneumatic equipment. Securing pipes to structures, walls, fixtures. Connecting to outside lines (e.g. - water, utility, sewage). Inspecting pipe system for leaks, using such methods as gauges, hydrostatic testing, observation. |  | 1.6K |
| Cutting and Burning Following all safety procedures and policies. Using cutting torch. Welding for the trade. |  | 500 |
| Controls Installing electrical controls. Installing hydraulic controls. Installing pneumatic controls. Maintaining and repairing controls. |  | 500 |
| Fixtures and Appliances Assembling, in position, and connecting fixtures and appliances used in plumbing and drainage systems. |  | 500 |
| Specialized Plumbing Work Installing sanitary, storm, waste, vent, hot water, cold water piping. Water purification. Sewage disposal. Installing sheet lead (x-ray room and shower pan use only). Demonstrating familiarity with all tools, equipment and replacement parts used in repair and service, maintaining proper inventory. Maintaining, modifying and repairing plumbing systems; including lead and tin pipe repair. |  | 1K |
| Boiler Installation and Repair Low pressure. High pressure. Installing heating plant. Insulating. Installing steam and hot water piping. Maintaining and repairing. |  | 700 |
| Gas Installations and Repair Pipe and fittings for natural gas installations. Pipe and fittings for L.P. gas systems (if available). Sizing and venting gas systems. Gas appliances and controls. Pipe and fittings for medical gas systems (including obtaining required certifications) (optional*). Maintaining and repairing. |  | 700 |
| Oil Installations and Repair Connecting fuel oil tank, pump, and equipment in place. Connecting oil pipeline, fittings, and valves in place. Maintaining and repairing. |  | 700 |
| Geothermal Installations and Repair (optional*) Installing heat pumps. Maintaining and repairing. |  | 450 |
| Solar Thermal Installations and Repair (optional*) Installing solar panels; running piping to hot water pumps; installing storage/mixing tanks. Maintaining and repairing. |  | 450 |
| Refrigeration and Air-Conditioning Systems Installing refrigeration and air-conditioning systems including compressors, pumps, meters, pneumatic and hydraulic controls, piping. Testing, adjusting, balancing (TAB), using computer if available. Maintaining and repairing. |  | 600 |
| Specialized Pipefitting Work Process piping. Power piping. Pneumatic tube pipe work. |  | 600 |
| Totals |  | OJT HRS 9K |

Plumber & Pipefitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.02

RAPIDS CODE

ATP13-363

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Health |  |
| Mathematics |  |
| Blueprint Reading and Drawing |  |
| Trade Theory and Science |  |
| Other Workplace Skills |  |
| Totals | RSI HRS 0 |