Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Cut metal components for installation Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders. |  | 300 |
| Fabricate parts or components Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders. |  | 250 |
| Create construction or installation diagrams Lay out full scale drawings of pipe systems, supports, or related equipment, according to blueprints. |  | 130 |
| Inspect plumbing systems or fixtures Inspect, examine, or test installed systems or pipelines, using pressure gauge, hydrostatic testing, observation, or other methods. |  | 550 |
| Install plumbing or piping Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 1.7K |
| Weld metal components Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 530 |
| Plan layout of construction, installation, or repairs Plan pipe system layout, installation, or repair, according to specifications. |  | 300 |
| Maintain plumbing structures or fixtures Modify, clean, or maintain pipe systems, units, fittings, or related machines or equipment, using hand or power tools. |  | 450 |
| Select construction materials Select pipe sizes, types, or related materials, such as supports, hangers, or hydraulic cylinders, according to specifications. |  | 150 |
| Install gauges or controls Install automatic controls to regulate pipe systems. |  | 200 |
| Inspect work sites to identify potential environmental or safety hazards Inspect work sites for obstructions or holes that could cause structural weakness. |  | 280 |
| Record operational or environmental data Keep records of work assignments. |  | 50 |
| Install green plumbing or water handling systems Install green plumbing equipment, such as faucet flow restrictors, dual-flush or pressure-assisted flush toilets, or tankless hot water heaters. |  | 300 |
| Direct construction or extraction personnel Direct helpers engaged in pipe cutting, preassembly, or installation of plumbing systems or components. |  | 250 |
| Mark reference points on construction materials Locate and mark the position of pipe installations, connections, passage holes, or fixtures in structures, using measuring instruments such as rulers or levels. |  | 250 |
| Measure materials or objects for installation or assembly Locate and mark the position of pipe installations, connections, passage holes, or fixtures in structures, using measuring instruments such as rulers or levels. |  | 300 |
| Review blueprints or specifications to determine work requirements Review blueprints, building codes, or specifications to determine work details or procedures. |  | 280 |
| Estimate construction project costs Estimate time, material, or labor costs for use in project plans. |  | 250 |
| Estimate construction project labor requirements Estimate time, material, or labor costs for use in project plans. |  | 250 |
| Inspect work sites to determine condition or necessary repairs Inspect structures to assess material or equipment needs, to establish the sequence of pipe installations, or to plan installation around obstructions, such as electrical wiring. |  | 200 |
| Cut openings in existing structures Cut openings in structures to accommodate pipes or pipe fittings, using hand or power tools. |  | 250 |
| Operate pumps or compressors Operate motorized pumps to remove water from flooded manholes, basements, or facility floors. |  | 100 |
| Repair worn, damaged, or defective mechanical parts Repair hydraulic or air pumps. |  | 150 |
| Remove parts or components from equipment Repair or remove and replace system components. |  | 200 |
| Replace worn, damaged, or defective mechanical parts Repair or remove and replace system components. |  | 150 |
| Totals |  | OJT HRS 7.8K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Introduction to the Plumbing Profession | 5 |
| Plumbing Safety | 22 |
| Tools of the Plumbing Trade | 10 |
| Introduction to Plumbing Math | 12 |
| Introduction to Plumbing Drawings | 17 |
| Plastic Pipe and Fittings | 12 |
| Copper Tube and Fittings | 12 |
| Cast Iron Pipe and Fittings | 12 |
| Steel Pipe and Fittings | 12 |
| Introduction to Plumbing Fixtures | 7 |
| Introduction to Drain, Waste, and Vent Systems | 10 |
| Introduction to Water Distribution Systems | 10 |
| Totals | RSI HRS 140 |