Apprenticeship Program Standards

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

RAPIDS CODE

WSATC-0163

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Lineman The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these standards. Poles, Arms, and Guys Conductors and Insulators Switches and Cutouts and other Protective Devices Transformers Underground Installation and Maintenance Service Drops |  | 6K |
| Meterman The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these standards. Repair, testing, reading, programming and installation of single phase meters Repair, testing, reading, programming and installation of polyphaser self-contained meters Repair, testing, reading, programming and installation of CT rated meters Testing installation and maintenance of primary potential and current transformers Specialized metering, totalizing, communication metering, pulse metering, net metering, co-generation metering and power quality Meter shop, record keeping, computer work, customer relations and metering standards requirements Transformer connections, voltage check Safety rules, the use of personal protective equipment and group tailboard skills Current diversion training Other meetings, conferences and safety meeting and demonstrations |  | 6K |
| System Operator The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these standards. Communication procedures familiarization Supervisory Control and Data Acquisition (SCADA) introduction General Operating Procedures SCADA (operations) Storm Operations Field Operations Work Rotation Miscellaneous |  | 6K |
| Totals |  | OJT HRS 18K |

Apprenticeship Program Standards

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

RAPIDS CODE

WSATC-0163

| Related Instruction Online | RSI HRS |
| --- | --- |
| Related/Supplemental Instruction The apprentice must attend related/supplemental instruction (RSI). Time spent in RSI shall not be considered as hours of work and the apprentice is not required to be paid. | 140 |
| Totals | RSI HRS 140 |