ELECTRICIAN

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159HY

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Create construction or installation diagrams. Prepare sketches or follow blueprints to determine the location of wiring or equipment and to ensure conformance to building and safety codes. Provide preliminary sketches or cost estimates for materials or services. | 0 | 450 |
| Thread wire or cable through ducts or conduits. Place conduit, pipes, or tubing, inside designated partitions, walls, or other concealed areas, and pull insulated wires or cables through the conduit to complete circuits between boxes. | 0 | 550 |
| Repair electrical equipment. Assemble, install, test, or maintain electrical or electronic wiring, equipment, appliances, apparatus, or fixtures, using hand tools or power tools. Repair or replace wiring, equipment, or fixtures, using hand tools or power tools. Work from ladders, scaffolds, or roofs to install, maintain, or repair electrical wiring, equipment, or fixtures. | 0 | 530 |
| Test electrical equipment or systems to ensure proper functioning. Assemble, install, test, or maintain electrical or electronic wiring, equipment, appliances, apparatus, or fixtures, using hand tools or power tools. Diagnose malfunctioning systems, apparatus, or components, using test equipment and hand tools to locate the cause of a breakdown and correct the problem. | 0 | 530 |
| Install electrical components, equipment, or systems. Assemble, install, test, or maintain electrical or electronic wiring, equipment, appliances, apparatus, or fixtures, using hand tools or power tools. Connect wires to circuit breakers, transformers, or other components. Install ground leads and connect power cables to equipment, such as motors. Fasten small metal or plastic boxes to walls to house electrical switches or outlets. | 0 | 530 |
| Update job related knowledge or skills. Maintain current electrician's license or identification card to meet governmental regulations. | 0 | 1.1K |
| Plan layout of construction, installation, or repairs. Plan layout and installation of electrical wiring, equipment, or fixtures, based on job specifications and local codes. | 0 | 530 |
| Direct construction or extraction personnel. Direct or train workers to install, maintain, or repair electrical wiring, equipment, or fixtures. | 0 | 500 |
| Train construction or extraction personnel. Direct or train workers to install, maintain, or repair electrical wiring, equipment, or fixtures. | 0 | 430 |
| Inspect electrical or electronic systems for defects. Inspect electrical systems, equipment, or components to identify hazards, defects, or the need for adjustment or repair, and to ensure compliance with codes. | 0 | 430 |
| Communicate with other construction or extraction personnel to discuss project details. Advise management on whether continued operation of equipment could be hazardous. | 0 | 430 |
| Fabricate parts or components. Construct or fabricate parts, using hand tools, according to specifications. | 0 | 430 |
| Assist skilled construction or extraction personnel. Provide assistance during emergencies by operating floodlights or generators, placing flares, or driving needed vehicles. | 0 | 430 |
| Estimate construction project costs. Provide preliminary sketches or cost estimates for materials or services. | 0 | 430 |
| Order construction or extraction materials or equipment. Perform business management duties, such as maintaining records or files, preparing reports, or ordering supplies or equipment. | 0 | 430 |
| Prepare operational reports. Perform business management duties, such as maintaining records or files, preparing reports, or ordering supplies or equipment. | 0 | 130 |
| Dig holes or trenches. Perform physically demanding tasks, such as digging trenches to lay conduit or moving or lifting heavy objects. | 0 | 200 |
| Totals | SKILLS 0 | OJT HRS 8K |

ELECTRICIAN

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

0159HY

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |