HEATING & AIR CONDITIONING MECHANIC & INSTALLER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Safety, Refrigeration Basics and Orientation, Customer Relations Safe handling of refrigerants, pressurized gasses, and combustibles Use of Safety Data Sheet information Lockout &amp; tag out procedures |  | 800 |
| Methods for Handling Equipment and Power Tools Use of ladder and torch Identify common seals, bearings, gaskets and packing materials Identify belt drive components and replace, align, and adjust tension these components Inspect and maintain common packaged and split HVACR systems |  | 1.5K |
| Constant Humidity Explain the sequence of operation of common airside accessories- humidifiers, electronic air cleaners, economizers, UV lighting systems, and heat recovery ventilators/systems |  | 300 |
| Heavy Air Conditioning Describe commercial airside, ventilation, and exhaust systems Demonstrate the knowledge of constant volume, variable volume and variable volume/temperature (VVT) systems and their applications Operate various air terminal and delivery equipment Identify the key components, the operation, and common service issues pertaining to packaged and split air handling equipment, economizers, air filtration and other common accessories |  | 500 |
| Soldering, Welding, Pipefitting, Tube Bending and Fitting Install and support soldered/brazed joints and mechanical/flared connections of various types of copper pipe/tubing Design and install steel piping in residential and commercial applications using fitting geometry including allowances, methods of joining and threading, installation of hangers and other support means Install various types of pipe insulation materials |  | 2.5K |
| Diagram and Blueprint Reading Accurately read blueprints and specifications including symbols, schedules, details and proficiency locate specific information |  | 300 |
| Controls Inspect cooling system for primary controls, safeties, refrigerant control valves, and regulators Troubleshoot and repair components, controls, and supplemental heat systems Diagnose and troubleshoot heat pump systems, controls, and components Diagnose and troubleshoot gas heating systems, controls, flame and pilot verification systems, and components |  | 300 |
| Test Instruments and Equipment, Service, Install, and Troubleshoot Troubleshoot and service electronically commutated motors (ECM) Start and setup variable frequency drives as well as resolve common issues Troubleshoot common control circuits and load components Operate, install, and troubleshot temperature controls and various types of thermostats Use wiring diagrams necessary to troubleshoot control system failures |  | 2.3K |
| Totals |  | OJT HRS 8.5K |

HEATING & AIR CONDITIONING MECHANIC & INSTALLER

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9021.00

RAPIDS CODE

0637

| Related Instruction Online | RSI HRS |
| --- | --- |
| Core | 72 |
| Heating, Ventilating, and Air Conditioning Level 1 | 120 |
| Heating, Ventilating, and Air Conditioning Level 2 | 170 |
| Heating, Ventilating, and Air Conditioning Level 3 | 160 |
| Heating, Ventilating, and Air Conditioning Level 4 | 160 |
| Totals | RSI HRS 670 |