Manufacturing Plant Electrician/Instrument Repairer Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

MA#1104

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Electrical Installations Installations of electrical circuits |  | 1.5K |
| Motors and Generators Assembly and testing, repair and maintenance |  | 1K |
| Controls Manual and automatic, including magnetic and solid state |  | 1.7K |
| Trouble Shooting Circuit analysis; use of test equipment; emergency repairs for temporary maintenance of service. |  | 1K |
| Power Distribution Inside and outside, high and low voltage distribution systems, maintenance and replacement. |  | 1K |
| Lighting |  | 500 |
| Boilers and Furnace control systems |  | 300 |
| Calibration and Process Control Pneumatic Instrumentation, Electronic Instrumentation, Plant Process Systems, Controllers and Recorders. |  | 2K |
| Totals |  | OJT HRS 9K |

Manufacturing Plant Electrician/Instrument Repairer Technician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071

RAPIDS CODE

MA#1104

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical Mathematics | 40 |
| Safety and Accident Prevention | 36 |
| Care and Use of Hand and Power Tools | 20 |
| Blueprint Reading and Electrical Symbols | 50 |
| Introduction to National Electrical Code | 140 |
| Electrical Fundamentals and Basic Theory | 52 |
| Electric Measuring Devices | 10 |
| Wiring Methods | 10 |
| Low Voltage and Limited Energy Circuits | 10 |
| Industrial and Commercial Calculations | 44 |
| Totals | RSI HRS 420 |