METERMAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9012.01

RAPIDS CODE

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Transformer rated meter installations, wiring, site verification, and data verification |  | 1.2K |
| Poly and single phase self-contained meter installations, understanding voltage requirements, rotation, loading, transformer connections. |  | 1.2K |
| PUD service regulation compliance, equipment requirements and standards, rate schedules, L&I codes, customer and contractor contacts |  | 800 |
| Meter testing, in-shop testing, field testing and auditing, meter data recording and tracking, meter programming |  | 800 |
| Power quality, using recorders and software, addressing customer concerns, data analysis, understanding cause and effect of electrical components. |  | 400 |
| Remote metering, communication types, signal testing, understanding and using different protocols |  | 300 |
| Primary meter installations, high voltage safety requirements and tool usage |  | 300 |
| Cable and fault locating, primary and secondary, testing and repair of locating equipment |  | 200 |
| Distribution system diagnostics, locating stray voltages, identifying and locating abnormalities |  | 200 |
| Radio frequency interference locating, coronas, identifying varying sources |  | 200 |
| Customer service, high bill investigations, customer complaint resolution |  | 100 |
| Safety, meeting attendance, first aid and CPR training, WAC rules |  | 100 |
| Power diversion, detecting, evidence collection and documentation |  | 100 |
| Test equipment maintenance |  | 100 |
| Totals |  | OJT HRS 6K |

METERMAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9012.01

RAPIDS CODE

| Related Instruction Online | RSI HRS |
| --- | --- |
| Supervised field trips Sponsor approved online or distance learning courses (specify): Electic Utility Technicians shall also complete 14 correspondence courcse from the Electronics Technician Course from Penn Foster and 4 correspondence courses from the Protective Relay Training Course from Valence Electrical Training Services. State Community/Technical college | 140 |
| Totals | RSI HRS 140 |