Industrial Maintenance Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

WSATC-0200

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| In-plant maintenance and installation Electrical installation as defined by the National Electrical Code. |  |  |
| Motors and generators Dismantling, removing windings, checking physical conditions; winding, forming, taping, installing and connecting; cleaning, painting, varnishing, baking; assembly and testing; repair and maintenance; internal and external connections to change direction of rotation and speed, and for a change of supply voltage; motor setting, drives, pulleys, gears, coupling devices; related mechanical equipment: traction units, cranes, winches, and hoists; rigging, hoisting, signals and staging. |  | 500 |
| Controls Manual and automatic, including magnetic and solid state. |  | 1.2K |
| Trouble shooting Circuit analysis, use of test equipment, emergency repairs for temporary maintenance of service. |  | 1K |
| Electronics training Electronics training to include electronic math, basic DC circuits, test instrument usage and theory, discrete device theory. |  | 2K |
| Power distribution Inside and outside, high and low voltage distribution systems maintenance and replacement. |  | 800 |
| Welders, welding Soldering, brazing, welding (acetylene); welding (electric); maintenance and repair of welding equipment. |  | 200 |
| Rectifiers Installing, replacing, and testing rectifier units; repairing related equipment. |  | 600 |
| Meters Testing meters; rebuilding meters; minor repair; installation; calibration. |  | 200 |
| Batteries Handling, testing, storing maintenance; minor repairs, terminals, cases, electrolyte; rebuilding. |  | 300 |
| Signal systems Installation, testing, service (minor), overhaul. |  | 400 |
| Lighting Maintenance of indoor and outdoor lighting, general and special; set-up operation, maintenance, dismantling, and storing of temporary and emergency lighting and portable power plants. |  | 600 |
| Totals |  | OJT HRS 7.8K |

Industrial Maintenance Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2111.00

RAPIDS CODE

WSATC-0200

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |