Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Install plumbing or piping. Install underground storm, sanitary, or water piping systems, extending piping as needed to connect fixtures and plumbing. |  | 800 |
| Install plumbing or piping. Assemble pipe sections, tubing, or fittings, using couplings, clamps, screws, bolts, cement, plastic solvent, caulking, or soldering, brazing, or welding equipment. |  | 600 |
| Install plumbing or piping. Install pipe assemblies, fittings, valves, appliances such as dishwashers or water heaters, or fixtures such as sinks or toilets, using hand or power tools. |  | 900 |
| Install plumbing or piping. Anchor steel supports from ceiling joists to hold pipes in place. |  | 300 |
| Install plumbing or piping. Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 300 |
| Install plumbing or piping. Install pipe systems to support alternative energy-fueled systems, such as geothermal heating or cooling systems. |  | 100 |
| Maintain plumbing structures or fixtures. Shut off steam, water, or other gases or liquids from pipe sections, using valve keys or wrenches. |  | 150 |
| Maintain plumbing structures or fixtures. Modify, clean, or maintain pipe systems, units, fittings, or related machines or equipment, using hand or power tools. |  | 250 |
| Maintain plumbing structures or fixtures. Maintain or repair plumbing by replacing defective washers, replacing or mending broken pipes, or opening clogged drains. |  | 400 |
| Weld metal components. Assemble pipe sections, tubing, or fittings, using couplings, clamps, screws, bolts, cement, plastic solvent, caulking, or soldering, brazing, or welding equipment. |  | 180 |
| Weld metal components. Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 80 |
| Weld metal components. Weld small pipes or special piping, using specialized techniques, equipment, or materials, such as computer-assisted welding or microchip fabrication. |  | 40 |
| Mark reference points on construction materials. Locate and mark the position of pipe installations, connections, passage holes, or fixtures in structures, using measuring instruments such as rulers or levels. |  | 150 |
| Measure materials or objects for installation or assembly. Locate and mark the position of pipe installations, connections, passage holes, or fixtures in structures, using measuring instruments such as rulers or levels. |  | 150 |
| Create construction or installation diagrams. Lay out full scale drawings of pipe systems, supports, or related equipment, according to blueprints. |  | 150 |
| Cut metal components for installation. Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders. |  | 300 |
| Fabricate parts or components. Cut, thread, or hammer pipes to specifications, using tools such as saws, cutting torches, pipe threaders, or pipe benders. |  | 200 |
| Plan layout of construction, installation, or repairs. Plan pipe system layout, installation, or repair, according to specifications. |  | 300 |
| Inspect plumbing systems or fixtures. Fill pipes or plumbing fixtures with water or air and observe pressure gauges to detect and locate leaks. Inspect, examine, or test installed systems or pipe lines, using pressure gauge, hydrostatic testing, observation, or other methods. |  | 400 |
| Review blueprints or specifications to determine work requirements. Review blueprints, building codes, or specifications to determine work details or procedures. |  | 200 |
| Select construction materials. Select pipe sizes, types, or related materials, such as supports, hangers, or hydraulic cylinders, according to specifications. |  | 150 |
| Direct construction or extraction personnel. Direct helpers engaged in pipe cutting, preassembly, or installation of plumbing systems or components. |  | 150 |
| Clean equipment or facilities. Modify, clean, or maintain pipe systems, units, fittings, or related machines or equipment, using hand or power tools. |  | 100 |
| Estimate construction project costs. Estimate time, material, or labor costs for use in project plans. |  | 100 |
| Estimate construction project labor requirements. Estimate time, material, or labor costs for use in project plans. |  | 100 |
| Install gauges or controls. Install automatic controls to regulate pipe systems. |  | 100 |
| Record operational or environmental data. Keep records of work assignments. |  | 100 |
| Inspect work sites to determine condition or necessary repairs. Inspect structures to assess material or equipment needs, to establish the sequence of pipe installations, or to plan installation around obstructions, such as electrical wiring. |  | 150 |
| Repair worn, damaged, or defective mechanical parts. Repair or remove and replace system components. Repair hydraulic or air pumps. |  | 250 |
| Remove parts or components from equipment. Repair or remove and replace system components. |  | 100 |
| Replace worn, damaged, or defective mechanical parts. Repair or remove and replace system components. |  | 150 |
| Cut openings in existing structures. Cut openings in structures to accommodate pipes or pipe fittings, using hand or power tools. |  | 150 |
| Inspect work sites to identify potential environmental or safety hazards. Inspect work sites for obstructions or holes that could cause structural weakness. |  | 150 |
| Install green plumbing or water handling systems. Install green plumbing equipment, such as faucet flow restrictors, dual-flush or pressure-assisted flush toilets, or tankless hot water heaters. Install fixtures, appliances, or equipment designed to reduce water or energy consumption. |  | 200 |
| Operate pumps or compressors. Operate motorized pumps to remove water from flooded manholes, basements, or facility floors. |  | 100 |
| Totals |  | OJT HRS 5K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| OSHA 10 Construction Safety Demonstrate safe work practices, PPE usage, fall protection, ladder safety, trenching awareness, hazard communication, and OSHA regulations applicable to residential plumbing. | 30 |
| Plumbing Tools, Materials & Math Identify plumbing tools, pipe materials, fittings, measurements, blueprint symbols, and perform trade-related mathematical calculations. | 24 |
| Plumbing Codes & Blueprint Reading Interpret residential plumbing plans, understand the International Plumbing Code (IPC), identify symbols, fixture locations, and code requirements. | 30 |
| DWV Systems & Underground Plumbing Install drainage, waste and vent systems, sewer piping, underground rough-ins, slope calculations, cleanouts, and perform testing procedures. | 36 |
| Water Distribution Systems Install copper, PEX, CPVC and water service piping, valves, supports, pressure testing and basic troubleshooting. | 24 |
| Residential Rough-In Procedures Perform complete plumbing rough-ins according to code, install water, drain, vent and gas piping systems. | 36 |
| Top-Out & Trim-Out Procedures Complete top-out installations, fixture connections, trim-out procedures and final inspections. | 30 |
| Water Heaters & Gas Systems Install and troubleshoot gas piping, tank and tankless water heaters, combustion air requirements and venting. | 30 |
| Plumbing Testing & Inspections Conduct pressure tests, DWV testing, inspection preparation and code compliance verification. | 24 |
| Customer Service & Documentation Complete work documentation, communicate professionally with customers, utilize company software and maintain job records. | 24 |
| Plumbing Service Diagnostics Diagnose residential plumbing systems using systematic troubleshooting procedures. | 30 |
| Drain Cleaning & Sewer Diagnostics Perform drain cleaning, sewer camera inspections, locate blockages and recommend corrective actions. | 30 |
| Advanced Plumbing Systems Install and service pumps, pressure regulators, expansion tanks, water treatment equipment and specialty fixtures. | 30 |
| Commercial Plumbing Fundamentals Understand commercial plumbing systems, larger DWV systems, commercial fixtures and code differences. | 24 |
| Estimating & Job Cost Awareness Develop material takeoffs, estimate labor requirements, understand productivity and cost control. | 30 |
| Advanced Plumbing Code Apply advanced International Plumbing Code requirements to residential and light commercial installations. | 30 |
| Leadership & Crew Supervision Demonstrate leadership, communication, conflict resolution, mentoring and crew management skills. | 30 |
| Project Management Coordinate scheduling, materials, inspections, subcontractors and project completion. | 30 |
| Business Ethics & Professional Development Demonstrate professionalism, ethics, safety leadership and customer relations while preparing for journeyman responsibilities. | 24 |
| Journeyman Examination Preparation Review plumbing code, calculations, practical applications and licensing examination topics. | 30 |
| Totals | RSI HRS 580 |