Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071.00

RAPIDS CODE

0643

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuits Electrical installations as defined by the Electrical Safety Law (ORS 479.620) Electrical oriented drawings |  | 2K |
| Motors and Generators Assembly and testing; Repair and maintenance; Internal and external connections to change direction of rotation and speed and for change of supply of voltage; Related mechanical equipment: Traction units, cranes, winches and hoists. In-place motor cleaning, 100 hours maximum credit |  | 1K |
| Controls Manual and automatic controls including magnetic and solid state (including DC drivers) |  | 1.5K |
| Troubleshooting Circuit analysis; Use of test equipment; Emergency repairs for temporary maintenance of service. |  | 1K |
| Power Distribution Inside and outside, high and low voltage distribution systems, maintenance and replacement; Transformer connecting, testing and repairing; Switch gear and load centers, maintenance and repair; Wiring, maintenance, repair and adjustment of control panels, instruments and relays. |  | 1K |
| Lighting |  | 500 |
| The remaining work time necessary to complete the apprenticeship program shall be applied according to the apprentice's training needs by the apprenticeship committee and the employer. |  | 1K |
| HAZARDOUS WORK Safety training on the specific hazards shall precede work assignments in hazardous areas or on energized equipment. Work shall not be performed on or near energized equipment if such service or equipment can be disconnected. Temporary safety grounds shall be installed during such work and disconnecting devices shall be identified by safety tags. Work on signal systems, control systems, or other equipment energized at 50 volts or less shall not be considered hazardous under normal conditions. Where work must be done on energized lines or equipment, an apprentice may work with a journeyman as follows: After the first 1,000 hours on power supply voltage up to 125 volts; after 3,000 hours up to 250 volts; after 4,000 hours 600 volts; after 7,000 hours any work within the plant. Electronic maintenance may be done by apprentices after the first 1,000 hours on equipment with in-put of 100 watts or less; after 3,000 hours up to 2500 watts in-put power, and after 5,000 hours on any electronic work within the plant, under journeyman supervision. |  |  |
| Totals |  | OJT HRS 8K |

Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9071.00

RAPIDS CODE

0643

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety and accident prevention; | 36 |
| Care and use of hand and power tools; | 20 |
| Blueprint reading and electrical symbols; | 50 |
| Introduction to National Electrical Code; | 140 |
| Electrical fundamentals and basic theory, including AC and DC; | 52 |
| Electrical measuring devices; | 10 |
| Wiring methods; | 10 |
| Low voltage and limited energy circuits; | 10 |
| Industrial and commercial calculations; | 60 |
| Motors, generators and transformers; | 54 |
| Practical circuit sketching; | 20 |
| Lighting circuits; | 20 |
| Fundamentals of electronics; | 30 |
| Welding and cutting |  |
| High voltage distribution and equipment. | 20 |
| Optional: Certified CPR/First Aid ** The remaining 36 hours, required to ensure license exam qualification, will be distributed as the committee deems appropriate. |  |
| Totals | RSI HRS 580 |