METER TECHNICIAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9012.01

RAPIDS CODE

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Repair, test and install single-phase and polyphase watt-hour Meter. |  | 2K |
| Repair, test and install demand registers and demand meters |  | 1K |
| Meter shop work and record keeping |  | 400 |
| Repair, test and install recording meters, instruments, Pulse-transmitting and pulse receiving devices |  | 500 |
| Test and install instrument transformers and associate Metering |  | 700 |
| Test connections to watt-hour metering, reactive metering and to instrument transformers with ratio verification |  | 100 |
| KVAR, DVA, KQ phase angle and other special tests |  | 300 |
| Other meterman related work processes as may be deemed necessary by the employer |  | 1K |
| Totals |  | OJT HRS 6K |

METER TECHNICIAN

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-9012.01

RAPIDS CODE

| Related Instruction Online | RSI HRS |
| --- | --- |
| Supervised field trips, Sponsor approved training seminars as approved by the Committee, Sponsor approved online or distance learning courses (specify): as approved by the Committee, State Community/Technical college, or Other ( Camp Rilea Apprentice Lineman's School, Company Technical Training Center, Other classes/course as approved by the Committee) | 140 |
| Totals | RSI HRS 140 |