Limited Journeyman Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

49-9071.00

RAPIDS CODE

0643

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Installation of electrical circuits | 0 | 1.5K |
| Motors and Generators Dismantling and checking physical conditions; Assembly and testing Repair and maintenance; Internal and external connections to change direction of rotation and speed, and for a change of supply of voltage Motor settings, drives, pulleys, gears, coupling devices Related mechanical equipment: traction units, cranes, winches, hoists, in place motor cleaning (100 hours maximum credit) | 6 | 1.1K |
| Controls Manual and automatic, including magnetic and solid state | 1 | 1.7K |
| Trouble Shooting Circuit analysis Use of test equipment Emergency repairs for temporary maintenance of service | 3 | 1.5K |
| Power Distribution Inside and outside, high and low voltage, distribution systems, maintenance and replacement Transformer connecting, testing and repairing Switch gear and load centers, repair and maintenance Wiring, maintenance, repair and adjustments of control panels, instruments, and relays | 4 | 1.2K |
| Welders and Welding Soldering, brazing, acetylene welding Electric welding Maintenance and repair of welding equipment | 3 | 100 |
| Rectifiers Installing, replacing and testing rectifier units Repairing related equipment | 2 | 100 |
| Meters Testing meters Rebuilding meters Minor repairs, installation, and calibration of meters | 3 | 100 |
| Batteries Handling, testing, and storing Minor repairs, maintaining terminals and case electrolyte Rebuilding batteries | 3 | 100 |
| Signal Systems Installation, testing, service and overhaul | 1 | 100 |
| Lighting Maintenance of general indoor and outdoor lighting Maintenance of special lighting Set-up, operation, maintenance, dismantling and storing of temporary and emergency lighting and portable power generators | 3 | 300 |
| Electric Furnaces | 0 | 200 |
| Any remaining time or substitution work time necessary to complete the apprenticeship program shall be applied according to the apprentice's training need and the requirements of the job as determined by the apprenticeship committee and the employer. | 0 |  |
| HAZARDOUS WORK Safety training on the specific hazards shall precede work assignments in hazardous areas or on energized equipment. Work shall not be performed on or near energized equipment if such service or equipment can be disconnected. Temporary safety grounds shall be installed during such work, and disconnecting devices shall be identified by safety tags. Work on signal systems, control systems or other equipment energized at 50 volts or less shall not be considered hazardous under normal conditions. Where work must be done on energized lines or equipment, an apprentice may work with a journeyman as follows: After the first period (1,000 hours) on power supply voltage up to 125 volts; after 3,000 hours, up to 250 volts; after 4,000 hours 600 volts, and after 7,000 hours any work within the plant. Electronic maintenance may be done by the apprentice after the first period (1,000 hours) on equipment with input power of 100 watts or less; after 3,000 hours up to 2500 watts input power; and after 5,000 hours on any electronic work within the plant, under journeyman supervision. | 3 |  |
| Totals | SKILLS 32 | OJT HRS 8K |

Limited Journeyman Manufacturing Plant Electrician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

49-9071.00

RAPIDS CODE

0643

| Related Instruction Online | RSI HRS |
| --- | --- |
| Electrical mathematics | 40 |
| Safety & accident prevention | 36 |
| Care & use of hand & power tools | 20 |
| Blueprint reading & electrical symbols | 40 |
| Introduction to the National Electrical Code | 140 |
| Electrical fundamentals & basic theory, including AC & DC | 52 |
| Electrical measuring devices | 10 |
| Wiring methods | 10 |
| Low voltage and limited energy circuits | 10 |
| Industrial and commercial calculations | 44 |
| Motors, generators and transformers | 44 |
| Practical circuit sketching | 20 |
| Lighting circuits | 20 |
| Fundamentals of electronics | 30 |
| Welding and cutting | 36 |
| High voltage distribution and equipment | 20 |
| A certified CPR (cardiopulmonary resuscitation) course | 8 |
| Totals | RSI HRS 580 |