PIPEFITTER (SPRINKLER FITTER)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

0414S-R

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| PLAN DRAWING AND INTERPRETATION |  | 750 |
| SAFETY & CARE OF TOOLS, MATERIALS, AND EQUIPMENT |  | 800 |
| PREPARATION OF TOOLS, MATERIAL, AND EQUIPMENT |  | 650 |
| PIPE CUTTING, THREADING, REAMING WELDING |  | 1.3K |
| INSTALLATION OF UNDERGROUND PIPING AND ACCESSORIES |  | 100 |
| WET PIPE SYSTEM |  | 2K |
| DRY PIPE SYSTEM |  | 750 |
| STANDPIPE SYSTEMS |  | 500 |
| SPECIAL HAZARD INSTALLATION |  | 100 |
| INSTALLATION OF FIRE PUMPS AND ACCESSORIES |  | 500 |
| MAINTENANCE AND REPAIRS |  | 600 |
| Totals |  | OJT HRS 8K |

PIPEFITTER (SPRINKLER FITTER)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

0414S-R

| Related Instruction Online | RSI HRS |
| --- | --- |
| BASIC CONSTRUCTION CORE CURRICULUM Safety and Anti-Harassment training is included in all aspects of Related Instruction. | 72 |
| SPRINKLER FITTER LEVEL ONE Introduction to the Trade and related topics. | 78 |
| SPRINKLER FITTER LEVEL TWO Advanced topics related to sprinklers and systems. | 150 |
| SPRINKLER FITTER LEVEL THREE Higher-level topics including system design and inspection. | 140 |
| SPRINKLER FITTER LEVEL FOUR Special extinguishing systems and maintenance. | 140 |
| Totals | RSI HRS 590 |