APPRENTICESHIP PROGRAM STANDARDS

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

RAPIDS CODE

WSATC-0192

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Electronic Technician The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. National, State Codes and District Policies Safety Documentation Radio Systems Communications Systems IP Networking Telephony Systems Fiber Optic Systems SCADA Electronics Foundation Electronic Test Equipment UPS/Battery Systems/DC plants and Rectifiers General |  | 6K |
| Hydro Electrician The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. National, states and district codes Safety Hydro generator maintenance Generator breaker maintenance Main 230 KV power transformers ISO - Phase bus - high voltage cable Transmission take off devices Diesel generators and auxiliary controls 230 kV SF6 breakers Heating ventilation and air conditioning (HVAC) DC power distribution Lighting circuits Crane maintenance and repair Elevators Fish facilities Station service system - and distribution Spillway gates Motor repair - maintenance Control Room Wiring methods Brazing and soldering methods Shop equipment Test equipment use and care General |  | 6K |
| Hydro Mechanic The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. Machine Shop Practices Safety Meetings Blueprint Reading and Layout Work Rigging Operation and Maintenance of Heavy Equipment Maintenance and Repair of Rotating Equipment Maintenance and Repair of Non-Rotating Equipment Welding and Shop Construction |  | 6K |
| Lineman The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. Safety Construction Transformers, Regulators, Reclosers, Capacitors Tree trimming and removal for line clearances Street Light CCTS Underground Vehicles and Equipment Operation and Care On-the-job training under supervision of a Meterman On-the-job training under supervision of a Power System Electrician On-the-job training under supervision of a Line Serviceman On-the-job training under supervision of a distribution dispatcher |  | 6K |
| Meter Relay Technician The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. National, state, and district codes Safety meetings, inspection and care of safety equipment Laying out construction work from blueprints Programming, testing and repairing meters Installation of meters, including residential, commercial, irrigation, and sub-station Instrument work, including indicating instruments, instrument transformer testing, trouble shooting, and electric rates Programming and functional testing line voltage regulators Relay testing Primary underground fault finding Hi-pot testing On-the-job training under a supervision of a Lineman On-the-job training under the supervision of a Station Operator On-the-job training under the supervision of a Senior System Operator On-the-job training under supervision of a Power System Electrician |  | 6K |
| Power Plant Operator The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. Safety Related Hydro Project Training and Competency Operations of Equipment Training and Competency Control Room Training and Competency Switching and Clearance Procedure Training and Competency Switchyard Training and Competency Orientation to Dispatching and Substations |  | 6K |
| Power System Electrician The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. National, state, and district codes Safety meetings, inspection and care of safety equipment Laying out construction work from blueprints Wiring and testing of batteries, battery chargers, control, meter and relay circuits and equipment Installation, adjustment, repair, and maintenance of substation equipment Installation, adjustment, repair, and maintenance of distribution equipment Installation and maintenance of rotating equipment, including motors and generators Shop work of electrical equipment including rigging and handling Power wiring and bus-bar installation Welding: gas, electric, heliarc On-the-job training under supervision of Meter Relay Tech On-the-job training under supervision of a Lineman On-the-job training under supervision of a Station Operator On-the-job training under supervision of a Senior Systems Operator |  | 6K |
| Fiber Network Technician The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. National, State Codes and District Policies Safety Documentation Fiber Optic Cable Fiber Optic Construction ONT installations Fiber Hut and Hub Fiber Optic Systems O&amp;M On the Job Training Fiber Test Equipment General |  | 4K |
| Fleet Service Technician The apprentice shall receive on the job instruction and work experience as is necessary to become a qualified journey-level worker versed in the theory and practice of the occupation covered by these Standards. Familiarization/Safety Programs Light Duty Vehicle and Trailer Maintenance Heavy Duty Vehicle and Trailer Maintenance (DOT) Industrial Equipment Maintenance Aerial Equipment Maintenance &amp; Repair Chassis Powertrain Electrical Fabrication Mobile Field Work |  | 6K |
| Totals |  | OJT HRS 52K |

APPRENTICESHIP PROGRAM STANDARDS

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

RAPIDS CODE

WSATC-0192

| Related Instruction Online | RSI HRS |
| --- | --- |
| Related/Supplemental Instruction The apprentice must attend related/supplemental instruction (RSI). Time spent in RSI shall not be considered as hours of work and the apprentice is not required to be paid. | 140 |
| Totals | RSI HRS 140 |