Magnetic Resonance Imaging (MRI) Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

29-2034.00

RAPIDS CODE

1115

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| General Patient Care Procedures As part of the education program, candidates must demonstrate competence in the clinical procedures identified. CPR Vital Signs (Blood Pressure, Pulse, Respiration) Sterile Technique Standard Precautions Transfer of Patients Care of Patient Medical Equipment (e.g., Oxygen Tank, IV Tubing) Venipuncture | 7 | 500 |
| MRI Safety Requirements Candidates must demonstrate competence in the MRI safety requirements identified. Screening Patients, Personnel, and Non-Personnel for MR Safe, MR Conditional, and MR Unsafe Devices and Objects Identify MR Safety Zones Static Magnetic Field (e.g., Translational and Rotational Forces) Radiofrequency Field (e.g., Thermal Heating [SAR], Coil Positioning, Patient Positioning, Insulation) Gradient Magnetic Fields (e.g., Inducted Voltages, Auditory Considerations) Communication and Monitoring Considerations (e.g., Sedated Patients, Verbal and Visual Contact, Vital Signs) Contrast Media Safety (e.g., NSF, Renal Function) Other MRI Safety Considerations (e.g., Cryogen Safety, Fire, Medical Emergencies, Laser Alignment Lights) | 8 | 500 |
| MR Imaging Procedures Candidates must demonstrate competence in the MR imaging procedures identified. | 0 | 500 |
| MRI Quality Control Procedures Candidates must demonstrate competence in the MRI quality control procedures identified. | 0 | 500 |
| Bronson Specific Requirements Candidates must demonstrate competence in the Bronson specific requirements identified. | 0 | 500 |
| Totals | SKILLS 15 | OJT HRS 2.5K |

Magnetic Resonance Imaging (MRI) Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

29-2034.00

RAPIDS CODE

1115

| Related Instruction Online | RSI HRS |
| --- | --- |
| Computer Applications in Medical Imaging | 45 |
| MRI Physics 1 | 45 |
| MRI Physics 2 | 45 |
| MRI Procedures and Pathology 1 | 45 |
| MRI Procedures and Pathology 2 | 45 |
| MRI Imaging Analysis | 45 |
| Applied Sectional Anatomy | 45 |
| Pre-Clinical Preparation | 45 |
| Totals | RSI HRS 360 |