Sprinkler Fitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

2028CB

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Overhead Piping Installations Wet Pipe System Exposed piping Concealed piping Hydrostatic test Dry Pipe System Exposed piping Concealed piping Air or hydrostatic test Deluge and Pre-Action systems Spray, CO2 and Foam systems Standpipe and Hose Equipment Sprinkler Heads Special Piping Installation Window, Cornice and Water Curtain System Anti-Freeze System |  | 5K |
| Control Devices, Trimming, Alarm Installation and Drains Mechanic, Electric and Pneumatic Devices Section and Zone Control Valves Fire Department Siamese Connections Shut Down and Refill Systems |  | 1.3K |
| Underground Piping Installations Post Indicator Values Hydrants Special types of underground piping Universal or Mechanic Joint Pipe Transits or Other Special Type Pipe City Connections Wet Connections Under Pressure Dry Cut-Ins |  | 1K |
| Installation System Supply Tank Connections Gravity tanks (discharge, fill, heating and overflow) Pressure tanks (discharge, fill and air) Fire Pumps (Manual or Automatic) Suction and discharge By-Pass Hose Connections and Relief |  | 880 |
| Repair and Remodeling Work of Sprinkler Systems Flushing Service and Maintenance Hydrostatic and Air Testing Sprinkler System Repair Sprinkler System Inspection Care and Use of Tools |  | 1.4K |
| Ladder, Scaffolds and Lifts Construction and Use Safe Operation Practices |  | 200 |
| Insurance Inspection and Reports |  | 100 |
| Owner’s Instruction on Care and Maintenance |  | 100 |
| Receiving, Distributing and Shipping of Materials |  | 100 |
| Totals |  | OJT HRS 10K |

Sprinkler Fitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.01

RAPIDS CODE

2028CB

| Related Instruction Online | RSI HRS |
| --- | --- |
| Safety and Accident Prevention |  |
| Industrial History and Labor Relations |  |
| Trade Theory and Science | 140 |
| Totals | RSI HRS 140 |