TELECOMMUNICATION TECHNICIAN (Alternate Title: Broadband Technician)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-2022.00

RAPIDS CODE

0618

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Project Layout & Planning Reading and Interpreting blueprints and specifications; Job site coordination; Layout telecommunication cable systems. |  | 500 |
| Underground Installations Trenching and ditch digging; Direct burial; Installing telecommunication grounding systems. |  | 200 |
| Routing Cable Fastening and support; Protective sleeves and nipples. |  | 300 |
| Testing, Certifying & Troubleshooting LAN Systems Checking circuit continuity; Identifying faults; Certifying system operation; System repair; Ground verification. |  | 500 |
| Security System Installation Blueprint and specification interpretation; Layout; Box circuit installation; termination; and testing. |  | 700 |
| Installing Communication and Sound Systems Blueprint and specification interpretation; Layout; Installing telecommunication panels and network devices; Circuit installation; Terminations; and testing. |  | 600 |
| Installing Networking Telecommunication Wire and Cables Installing and networking between buildings; Wiring large and small campus systems; Installing backbones; Installing horizontals; installing cross connects and interconnects. |  | 1.2K |
| Terminating Wires and Cables Bundled cable; Shielded cable; Unshielded cable; Optical fiber cable; Twisted pair; and Coaxial cable. |  | 1K |
| Splicing Wires and Cables Optical fiber cable; Shielded and unshielded twisted pair; coaxial cable. |  | 300 |
| Installing CCTV and Video Distribution Systems Installing cameras and lenses; Installing DVRs; Installing monitors; Installing video switching equipment; System layout; Terminations and testing; Installing video amplifiers. |  | 600 |
| System Commissioning Local area network (switches and routers); Fire Alarm systems; CCTV systems; Security systems; Nurse Call systems; Access control systems; Building automation. |  | 500 |
| Project Service and Troubleshooting Testing, analysis and repair of video, voice, and data; Installations: electronic devices, LAN circuits and Telecommunication devices. |  | 1K |
| Material Handling and Pre-Fabrication Material/equipment awareness; Fabrication for field installation. |  | 200 |
| Safety Awareness and Other Specialized Areas Safety; Sub-Systems: Communications, Entertainment, Environmental control, Life Safety. |  | 400 |
| Totals |  | OJT HRS 8K |

TELECOMMUNICATION TECHNICIAN (Alternate Title: Broadband Technician)

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

49-2022.00

RAPIDS CODE

0618

| Related Instruction Online | RSI HRS |
| --- | --- |
| FIRST SESSION | 160 |
| SECOND SESSION | 160 |
| THIRD SESSION | 160 |
| FOURTH SESSION | 160 |
| Totals | RSI HRS 640 |