Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Install underground storm, sanitary, or water piping systems, extending piping as needed to connect fixtures and plumbing. |  | 200 |
| Assemble pipe sections, tubing, or fittings, using couplings, clamps, screws, bolts, cement, plastic solvent, caulking, or soldering, brazing, or welding equipment. |  | 400 |
| Install pipe assemblies, fittings, valves, appliances such as dishwashers or water heaters, or fixtures such as sinks or toilets, using hand or power tools. |  | 200 |
| Anchor steel supports from ceiling joists to hold pipes in place. |  | 300 |
| Attach pipes to walls, structures, or fixtures, such as radiators or tanks, using brackets, clamps, tools, or welding equipment. |  | 300 |
| Install pipe systems to support alternative energy-fueled systems, such as geothermal heating or cooling systems. |  | 200 |
| Maintain plumbing structures or fixtures. |  | 600 |
| Weld metal components. |  | 600 |
| Mark reference points on construction materials. |  | 200 |
| Measure materials or objects for installation or assembly. |  | 200 |
| Create construction or installation diagrams. |  | 200 |
| Cut metal components for installation. |  | 200 |
| Fabricate parts or components. |  | 200 |
| Plan layout of construction, installation, or repair. |  | 200 |
| Inspect plumbing systems or fixtures. |  | 500 |
| Review blueprints or specifications to determine work requirements. |  | 200 |
| Select construction materials. |  | 300 |
| Direct construction or extraction personnel. |  | 200 |
| Clean equipment or facilities. |  | 300 |
| Estimate construction project costs. |  | 200 |
| Estimate construction project labor requirements. |  | 200 |
| Install gauges or controls. |  | 200 |
| Record operational or environmental data. |  | 100 |
| Inspect work sites to determine condition or necessary repairs. |  | 200 |
| Repair worn, damaged, or defective mechanical parts. |  | 400 |
| Remove parts or components from equipment. |  | 200 |
| Replace worn, damaged, or defective mechanical parts. |  | 300 |
| Cut openings in existing structures. |  | 200 |
| Inspect work sites to identify potential environmental or safety hazards. |  | 200 |
| Install green plumbing or water handling systems. |  | 200 |
| Operate pumps or compressors. |  | 100 |
| Totals |  | OJT HRS 8K |

Plumber

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152.00

RAPIDS CODE

0432

| Related Instruction Online | RSI HRS |
| --- | --- |
| Pipefitting/Pipefitter and Sprinkler Fitter | 160 |
| Plumbing Technology/Plumber | 350 |
| Plumbing and Related Water Supply Services, Other | 160 |
| Totals | RSI HRS 670 |