Steamfitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152

RAPIDS CODE

MA#6021

| Work Process Schedule |  | OJT HRS |
| --- | --- | --- |
| Installation, Maintenance and Repair of High & Low-Pressure Steam Piping (Welding) |  | 2K |
| Installation, Maintenance and Repair of Hot Water Piping for Comfort Heating |  | 1.5K |
| Installation, Maintenance and Repair of Commercial Process Piping (Chilled Water, Condenser Water, Compressed Air, Welding, etc.) |  | 3.4K |
| Installation, Maintenance and Repair of Industrial Process Piping (Welding) |  | 2.6K |
| Installation, Maintenance and Repair of Instrumentation & Control Piping (Including Fiber Optics for Instrumentation & Control, Welding) |  | 500 |
| Totals |  | OJT HRS 10K |

Steamfitter

APPRENTICESHIP APPROACH

Time

O*NET-SOC CODE

47-2152

RAPIDS CODE

MA#6021

| Related Instruction Online | RSI HRS |
| --- | --- |
| Basic Math / Union Heritage / Job Safety & Health | 54 |
| Trigonometry | 54 |
| Related Science | 54 |
| Drafting | 54 |
| Basic Pipefitting | 32 |
| Basic Plumbing | 32 |
| Construction Media | 32 |
| Pipe layout & Fabrication | 86 |
| Tube Bending | 86 |
| Rigging | 86 |
| NCCCO Signalperson | 32 |
| Steam Systems | 54 |
| Oregon Boiler Class 5 | 54 |
| Advanced Union Class | 32 |
| Foreman Class | 54 |
| Hydronics | 32 |
| Star Exam | 54 |
| Total Station | 86 |
| Welding | 32 |
| Totals | RSI HRS 1K |