DC Power Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

51-2022.00

RAPIDS CODE

0633

| Work Process Schedule | SKILLS | OJT HRS |
| --- | --- | --- |
| Safety Safety is included in all aspects of on the job training | 0 | 200 |
| Level I (1-6 months): Competent helper level Basic knowledge of AC and DC Electrical, Working knowledge of batteries and installations, Anchoring, Cable Placement, Tagging and labelling, Connector placement and terminations, Fire Safety, Alarms, Basic knowledge of grounding. | 0 | 800 |
| Level II (6-12 months): Systems Knowledge and Understanding Intermediate AC and DC Power Systems knowledge, UPS Systems understanding. | 0 | 1K |
| Level III (12-18 months): DC Components Level I Expertise DC Power plants (DC Distribution), DC Voltages, DC power conversion, Running conduit. | 0 | 1K |
| Level IV (18-24 months): Voltage Readings Understanding of voltage calculations, Performing voltage drop calculations. | 0 | 1K |
| Totals | SKILLS 0 | OJT HRS 4K |

DC Power Technician

APPRENTICESHIP APPROACH

Hybrid

O*NET-SOC CODE

51-2022.00

RAPIDS CODE

0633

| Related Instruction Online | RSI HRS |
| --- | --- |
| Totals | RSI HRS 0 |